## Project details
Name of project
| M1 - onsite renewables | M5 - demolition & rebuild
Information provided (yes/no)
Instructions
Please complete all the shaded cells for each of the relevant measures (M1 or M5) using relavant data about the proposal
Note on B6: Use the tabs below to find the relevant requirement worksheet

## Sheet1 (hidden)
Calculating onsite energy generation for PV
No of panels | Watts per panel | Combined power output | Performance ratio | Actual output
0 | 0 | 0 | 0 | 0
Note on G5: This figure should be expressed in watts. For example, a 1.4kWp system should be input as 1,400
Note on I5: If a PV system is modelled to perform at around 80%, this needs to be expressed as 0.80 in the cell. This figure adjusts the theoretical installed capacity into real life performance of the system. If a PV system is split across different arrays with different orientations, an average of the arrays should be used.

## M1 Minors
M1 - Onsite Renewable Energy Generation
Baseline Calculation
| Sqm (all floors) | KgCO2/annum
8.01 | 211.15 | 1691.3115
Calculating onsite energy generation for PV
No of panels | Watts per panel | Combined power output | Performance ratio | Actual output
4 | 300 | 1200 | 0.8 | 960
Calculating onsite energy generation from other sources
No of units | Watts per unit | Combined kWp
Generation (PV) |  | 960
Generation (other) |  | 0
Annual CO2 saving |  | 130.56
% saving |  | 7.7195
Note on B7: Insert data for each unit up to 10
Note on H13: This figure should be expressed in watts. For example, a 3.8kWp system should be input as 3,800
Note on J13: If a PV system is modelled to perform at around 80%, this needs to be expressed as 0.80 in the cell. This figure adjusts the theoretical installed capacity into real life performance of the system. If a PV system is split across different arrays with different orientations, an average of the arrays should be used.

## M1 Majors
Baseline
Tonnes of CO2/annum
Combined TER baseline for all buildings | 0
Onsite energy generation
Number of PV panels across the scheme | 0
Installed capacity per panel | 0
Total installed kWp | 0
Averaged performance ratio | 0
Real world output | 0
Carbon savings
Assumed 'real world' output | 0
Converted CO2 savings | 0
% saving | #DIV/0!
Note on C5: Full details of how this aggregate dfigure has been derived will be contained within the Energy Strategy as stipulated in the SPD
Note on C10: This figure should be expressed in watts. For example, a combined 175kWp system should be input as 175000
Note on C12: If a PV system is modelled to perform at around 80%, this needs to be expressed as 0.80 in the cell. This figure adjusts the theoretical installed capacity into real life performance of the system. Across a larger site, the average ratio of PV systems should be used

## M5
M5 - Demolition and rebuild
t/CO2
Amount of embodied carbon in the existing structure | 25
Amount of up front embodied carbon in replacement building | 65
Amount of carbon saved by reuse or recycling | 7
Net total carbon cost of the project | 83
Name of software used to calculate net carbon figure
Does this software accord with EN15978?
TER of replacement building | 9
Floor area of replacement building | 175
Annual operational CO2 emissions of replacement building | 1575 | Kg/CO2 per annum
DER of replacement building | 2
TER - DER to provide annual savings of CO2 | 1225
Annual savings mulitiplied by 25 years | 30625
Offset within the maximum 25 years (yes/no)? | No
Note on C6: This figure needs to be expressed in tonnes of carbon dioxide, e.g 18.2 t/CO2 A schedule of inputs from the embodied carbon software used to create this figure needs to be provided
Note on C7: This figure needs to be expressed in tonnes of carbon dioxide, e.g 75 t/CO2 A schedule of inputs from the embodied carbon software used to create this figure needs to be provided
Note on C8: Figures must be expressed in terms of tonnes of carbon dioxide offset, e.g 10 t/CO2. A full schedule of materials to be reused needs to include the carbon savings, and a description of how the materials will be reused A full schedule of materials to be recycled will need to include the associated carbon savings, the name, address and licence of the recycling facility that is taking the materials, with confirmation of this required as part of the discharge of condition process
Note on C15: Taken from the 'as designed' SAP, which will need to be submitted as part of the application. This figure should be expressed as KgCO2/sqm as shown in section 4 of the SAP assessment
Note on C19: Taken from the 'as designed' SAP, which will need to be submitted as part of the application. This figure should be expressed as KgCO2/sqm as shown in section 4 of the SAP assessment
Note on C21: Convert KgCO2 into tonnes of CO2 tCO2 per annum